## Cover Sheet
2425 Reedie Drive, 7th Floor Wheaton, MD 20902 311 in Montgomery County or (240)-777-0311 240-777-6262 (Fax) MontgomeryCountyMD.gov/DPS
Montgomery County Amended 2021 International Green Construction Code
The 2021 International Green Construction Code (IgCC) was adopted and amended by Executive Regulation 12-20. The following checklist reflects the IgCC as amended and adopted. The checklist is in five parts, each must be completed in full relative to the chosen path of compliance.
| • | Application – Consists of project information and path of compliance specific to your project.
| • | Mandatory – In Chapters 5 through 9, all projects must demonstrate compliance with the mandatory provisions (x.3) as well as either the prescriptive option (x.4) or the performance option (x.5) where offered.
| • | Prescriptive – Applies to projects designed prescriptively to comply with the IgCC.
OR
| • | Performance – With the performance option, all mandatory requirements of Chapter 7 of the IgCC, and Standard 90.1 (as modified by Chapter 7) must be satisfied.
OR alternative compliance path
With the alternative compliance path, all provisions and amendments must be satisfied.
Instructions
Complete the APPLICATION PROJECT INFORMATION section. The amended 2021 IgCC applies only to New Construction and Addition projects 5000 gross square feet (gsf) or greater. For projects under 5000gsf check the “Not Applicable” box and complete only the Project Information Section and include with your Building Permit Application documents.
| • | For all applicable projects: Provide the Project Owner’s name, address and contact information and complete the application, submit with your completed IgCC checklist.
| • | If the primary contact is other than the Owner or Registered Design Professional in Responsible Charge (RDPRC) provide complete primary contact information including: name, address, phone(s) and email.
| • | Identify the RDPRC and provide complete contact information including: name, address, phone(s) and email.
Compliance Pathways
Montgomery County provides options for IgCC compliance. Please determine the best course of action based on the scope and goals of the project.
| • | Commercial R-2 and R-4 projects ≥5000gsf and under 5 stories are required to comply with the ICC-700/National Green Building Standard (NGBS-2020) at the Silver Energy Performance level.
| • | R-2 & R-4 Mixed-Use buildings may comply with ICC-700/NGBS-2020; the non-residential portions shall comply with the provisions of the IgCC – or – the entire building may comply with IgCC, ASHRAE 189.1. or ICC-700/NGBS-2020 (Including Chapter 13) at not less than the Silver Energy Performance level. Most current iteration of ICC-700/NGBS shall apply.
| • | R-1, Non-residential and R-1/Mixed-Use projects ≥5000gsf may select: IgCC or ASHRAE 189.1.
| • | For projects seeking to use an alternative compliance path (ACP): Project teams must schedule a pre-design consultation to inform DPS of the approved proposed ACP. in addition to the ACP requirements, the project must demonstrate performance compliance 2021-IgCC as amended. Please see the DPS website for additional information.

## Application
2425 Reedie Drive, 7th Floor Wheaton, MD 20902 311 in Montgomery County or (240)-777-0311 MontgomeryCountyMD.gov/DPS
2021 International Green Construction Code
COMMERCIAL GREEN BUILDING APPLICATION | [5 empty] | PATH OF COMPLIANCE Complete for ALL applicable projects (Check all that apply)
Building AP#(s): |  |  |  | U&O #: |  | Compliance Path
PROJECT INFORMATION | [6 empty] | Prescriptive
Project Name: | [6 empty] | Performance
Project Address:
Applies only to new construction/additons of 5000 gsf or greater (Check all that Apply) |  | APPLICATION INFORMATION - Completed for ALL applicable projects |  |  |  | R-2/R-4 < 5 Stories: Compliance with ICC-700/NGBS (Minimum Silver Energy Performance Level) is required
Project Owner:
|  | Address: |  |  |  |  | ICC-700/NGBS - 2020 or most current
| New Construction | Phone: | Mobile: |  |  | R-2/R-4 and Mixed Use ≥ 5 Stories
| Addition | Email: |  |  |  |  | IgCC
| Non-Residential | Primary Contact /Applicant: |  |  |  |  | ICC-700/NGBS - 2020 (Mixed Use Including Chapter 13)
| Residential R-2/R-4 | Address: |  |  |  |  | ASHRAE 189.1
| Residential R-1 | Phone: | Mobile: |  |  |  | ACP - Alternative Compliance Path
| Mixed Use | Email: |  |  |  | R-1, R-1/Mixed-Use, Non-Residential:
| Shell | Registered Design Professional in Responsible Charge (RDPRC): |  |  |  |  | IgCC
| If under 5000 gsf | [5 empty] | ASHRAE 189.1
| - Not Applicable | Address: |  |  |  |  | ACP - Alternative Compliance Path
Size-Gross ft² (gsf) |  | Phone: | Mobile: |  |  | Additional Notes:
Email:
Complete the PROJECT INFORMATION section completely. The IgCC (Amended) applies only to New Construction and Addition projects 5000ft² or greater. For projects under 5000ft² check the “Not Applicable” box and complete only the Project Information Section and include with your Building Permit Application. For all applicable projects: Provide the Project Owner’s name, address and contact information and complete the application, submit with your Building Permit Application
If the primary contact is other than the Owner or Registered Design Professional in Responsible Charge (RDPRC) provide complete primary contact information including: Name, address, phone(s) and email.
Identify the RDPRC and provide complete contact information including: Name, address, phone(s) and email.
Commercial R-2 and R-4 projects ≥ 5000gsf and under 5 stories are required to comply with the ICC-700/National Green Building Standard (NGBS0-2020) at the Silver Energy Performance level.
R-2 & R-4 Mixed-Use buildings may comply with ICC-700/NGBS-2020; the non-residential portions shall comply with the provisions of the IgCC – or – the entire building may comply with IgCC, ASHRAE 189.1. - or -ICC-700/NGBS-2020 (Including Chapter 13) at not less than the Silver Energy Performance level. Most current iteration of ICC-700/NGBS shall apply. Informative Appendix M Sections M101.1.3, M101.1.4, and M101.1.5 are adopted. Projects shall meet a minimum Silver rating for whole building.
R-1, Non-residential and R-1/Mixed-Use projects ≥ 5000gsf may select: IgCC or ASHRAE 189.1 -
Incomplete applications will not be accepted.
Applicant's Signature |  |  | Date |  | Print Name

## Mandatory
NOTE: Mandatory requirements are listed below. Prescriptive and performance options have their own tabs, respectively.
Sections |  | Description ★ = Mandatory Provisions | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
Chapter 5 - Site Sustainability
501.3 |  | MANDATORY PROVISIONS
501.3.1.1 |  | ALLOWABLE SITES. The building project shall take place in or on one of the following (check all that apply):
| ★ | a. An existing building envelope.
b. A brownfield.
c. A greyfield.
d. A greenfield that is within 1/2 mi of residential land that is developed, or that has one or more buildings under construction, with an average density of ten dwelling units per acre unless that site is agricultural land or forest land. Proximity is determined by drawing a circle with a 1/2 mi radius around the center of the proposed site.
e. A greenfield where the proposed building complies with ASTM E2843, unless that site is agricultural land or forest land.
f. A greenfield where the proposed building complies with ASTM E2844, unless that site is agricultural land or forest land.
g. A greenfield that is agricultural land, and the purpose of the proposed building is related to the agricultural use of the land.
h. A greenfield that is forest land, and the purpose of the proposed building is related to the forestry use of the land.
i. A greenfield that is designated park land, and the purpose of the proposed building is related to the use of the land as a park.
501.3.5 |  | MITIGATION OF HEAT ISLAND EFFECT
501.3.5.1 | ★ | Site Hardscape. At least 50% of the site hardscape that is not covered by solar energy systems shall be provided with one or any combination of the following:
a. Existing trees and vegetation or new biodiverse plantings of native plants and adapted plants, which shall be planted either prior to the final approval or in accordance with a contract established to require planting no later than 12 months after the final approval so as to provide the required shade no later than ten years after the final approval. The effective shade coverage on the hardscape shall be the arithmetic mean of the shade coverage calculated at 10 a.m., noon, and 3 p.m. on the summer solstice.
b. Paving materials with a minimum initial solar reflectance index (SRI) of 29. A default SRI value of 35 for new concrete without added color pig­ment is allowed to be used instead of measure­ments.
c. Open-graded (uniform-sized) aggregate, perme­able pavement, permeable pavers, and porous pavers (open-grid pavers). Permeable pavement and permeable pavers shall have a percolation rate of not less than 2 gal/min-ft2.
d. Shading through the use of structures, provided that the top surface of the shading structure com­plies with the provisions of Section 501.3.5.3 (Informative Appendix L).
e. Parking under a building, provided that the roof of the building complies with the provisions of Section 501.3.5.3 (Informative Appendix L).
f. Buildings or structures that provide shade to the site hardscape. The effective shade coverage on the hardscape shall be the arithmetic mean of the shade coverage calculated at 10 a.m., noon, and 3 p.m. on the summer solstice.
501.3.5.2 | ★ | Walls. Above-grade building walls and retaining walls shall be shaded in accordance with this section. The building is allowed to be rotated up to 45 degrees to the nearest cardinal orientation for pur­poses of calculations and showing compliance. Compliance with this section shall be achieved through the use of shade-providing plants, man-made structures, exist­ing buildings, hillsides, permanent building projec­tions, on-site renewable energy systems, or a combination of these, using the following criteria:
a. Shade shall be provided on at least 30% of the east and west above-grade walls and retaining walls from grade level to a height of 20 ft above grade, or the top of the exterior wall, whichever is less. Shade coverage shall be calculated at 10 a.m. for the east walls and 3 p.m. for the west walls on the summer solstice.
b. Where shading is provided by vegetation, such vegetation shall be existing trees and vegetation or new biodiverse plantings of native plants and adapted plants. Such planting shall occur prior to the final approval by the or in accordance with a contract established to require planting no later than 12 months after the final approval so as to provide the required shade no later than ten years after the final approval. Vegetation shall be appropriately sized, selected, planted, and maintained so that it does not inter­fere with overhead or underground utilities. Trees shall be placed a minimum of 5 ft from and within 50 ft of the building or retaining wall.
Exceptions:
The requirements of this section are satisfied if 75% or more of the opaque wall surfaces on the east and west have a minimum SRI of 29. Each wall is allowed to be considered separately for this exception.
501.3.5.4 | ★ | Solar reflectance index (SRI) the SRI shall be calculated in accordance with ASTM E1980 for medium-speed wind conditions using a convection coefficient of 2.1 Btu/h ft2 °F for the following conditions:
a. For materials other than roofs, the SRI shall be based on solar reflectance, as measured in accordance with ASTM E1918 or ASTM C1549, and the thermal emittance, as measured in accordance with ASTM E408 or ASTM C1371. The values for solar reflectance and thermal emittance shall be determined and certified by an independent third party.
b. For roofing products, the SRI values shall be based on a minimum three-year-aged solar reflectance and thermal emittance, as measured in accordane with CRRC S100, and shall be certified by the manufacturer.
501.3.5.5 | ★ | Vegetated terrace and roofing systems. Vegetated terrace and roofing systems, where provided in accordance with Section 501.3.5.3, shall comply with the following:
a. All plantings shall be capable of withstanding the microclimate conditions of the vegetated area, including but not limited to wind, precipittion, and temperature. Plants shall be selected and placed to providefoliage coverage of not less than 50% of designed area of vegetation based on the anticipated plant growth within two years of the issuance of the final certificate of occupancy. Construction documents shall be submitted that show the planting location and anticipated two-year foliage coverage of the plantings. Duplicate coverage shall not be credited where multiple plants cover the same area. Invasive plants shall not be planted.
b. the growing medium shall be designed for the physical conditions and local climate to support the plants selected. The planting design shall include measures to protect the growing medium until the plants are established. The maximum wet weight and water-holding capacity of a growing medium shall be determined in accordance with ASTM E2399.
c. Nonvegetated clearances and borders shall be provided in accordance with the International Fire Code, Section 317.
d. Plantings shall be capable of maintaining the function of the vegetated roof or terrace as required by Section 1001.9.1.
e. Irrigation of the vegetated roofs and terraces shall comply with Section 601.3.2.4.
f. Installation of plantings shall be in accordance with the roof-covering manufacturer's installation instructions.
501.3.6 |  | REDUCTION OF LIGHT POLLUTION
501.3.6.1 | ★ | Backlight, uplight, and glare (BUG) ratings. Exterior luminaire backlight, uplight, and glare (BUG) ratings shall be in accordance with IES TM-15. Luminaire mounting heights shall be determined as the distance between the lowest point of a luminaire and the ground. All exterior lighting shall comply with items (a) through (c).
a. Backlight. Building-mounted exterior lighting with backlight oriented towards the building is not required (NR) to have a maximum backlight rating. All other exterior lighting not building-mounted and building-mounted where backlight is not oriented towards the building shall have a backlight rating that is no greater than the maximum backlight rating value in Table 501.3.6.1 that is a function of the horizontal distance between the luminaire and closest property line in multiples of luminaire mounting height and the lighting zonw. Luminaires not building mounted and located within two (2) mounting heights of the nearest property line shall be oriented so the backlight portion of light output is oriented perpendicular toward the closest property line.
b. Uplight. Exterior luminaires shall hve an uplight rating that is no greater than the maximum uplight rating value in Table 501.3.6.1 for the lighting zone.
Exceptions:
1. Lighting in lZ3 and LZ4, solely for uplighting, structures, building facades, or landscaping.
2. Lighting in LZ1 and LZ2, solely for uplighting structures, building facades, or landscaping, provided the applicable lighting power densities (LPDs) do not exceed 50% of the lighting power allowances in ANSI/ASHRAE/IES Standard 90.1, table 9.4.2-2.
c. Glare. Building-mounted exterior lighting with forward light oriented toward the building is not required (NR) to have a maximum glare rating. All other building-mounted lighting shall have a glare rating that is no greater than the maximum glare rating value in Table 501.3.6.1 as a function of the horizontal distance between the luminaire and closest property line in multiples of luminaire mounting height and the lighting zone. All exterior lighting not building-mounted shall have a glare rating this is no greater than the maximum glare rating value in Table 501.3.6.1 for the lighting zone.
Exceptions:
1. Specialized signal, directional, and marker lighting associated with transportation.
2. Advertising signage or directional signage.
3. Lighting intergral to equipment or instrumentation and installed by its manufacturer.
4. Lighting for theatrical purposes, including performances, stage, film production, and video production.
5. Lighting for athletic playing areas.
6. Lighting that is in use for no more than 60 continous days and is not reinstalled any sooner than 60 days after being installed.
7. Lighting for industrial production, material handling, transportation sites, and associated storage areas.
8. Theme elements in theme/amusement parks.
9. Roadway lighting required by governmental authorities.
10. Lighting classified for and used in hazardous locations as specified in NFPA 70.
11. Lighting for swimming pools and water features.
501.3.7 |  | MITIGATION OF TRANSPORTATION IMPACTS
501.3.7.1.1 | ★ | Pedestrian walkways. Each primary entrance shall be provided with a pedestrian walkway that extends to either a public way or a transit stop. Walkways shall not be less than 5 ft. (1.5 m) in width and shall be clearly delineated. A public-use walkway shall be provided along the length of the adjoining public-way frontage of the building project site, and such walkways shall connect to adjacent public-use walkways.
501.3.7.1.2 | ★ | Bicycle paths. On-site bicycle paths shall be designed to connect bicycle parking areas to existing and planned off-site bicycle paths adjacent to the building project.
501.3.7.2.1 | ★ | Bicycle parking. Minimum number of spaces. Bicycle parking spaces shall be provided for at least 5% of the occupant load of each building but not less than two parking spaces. Occupants who are nonambulatory, under restraint, or under custodial care need not be included in the total occupant load for the building. Building projects with dwelling units shall be provided with at least 0.5 bicycle parking spaces per bedroom for each building but not less than two parking spaces.
Exceptions:
1. Building projects with dwelling units that provide each unit with a private garage or private, locked storage space of sufficient size to store a bicycle.
2. The number of bicycle parking spaces shall be allowed to be reduced where a transportation plan, prepared by a registered design professional, that demonstrates the likelihood that building occupants will use public transportation and/or walk to the building project sites has been approved.
501.3.7.2.2 | ★ | Location. Not fewer than two bicycle parking spaces shall be located within 50 ft (15.2 m) of, and be visible from, the building entrance being served. All other bicycle parking spaces shall be located inside the building or the nearest point of the bicycle parking areas shallbe within 50 ft (15.2 m) of the building entrance being served. Bicycle parking shall not obstruct pedestrian access to the building.
501.3.7.2.4 | ★ | Ability to lock. Each bicycle parking space shall be provided with a security mounted rack or other facilities for locking or securing a bicycle. A rack shall allow the locking of the frame and the front or rear wheel of the bicycle to the rack using a U-shaped shackle lock.
501.3.7.2.5 | ★ | Security and visibility. All bicycle parking spaces shall be visible from the entrance being served; secured in a locker, cage, or room; or provided with valet service or security cameras. Signage shall be provided to identify parking that is not visible from the building entrance.
501.3.7.2.6 | ★ | Documentation. Construction documents shall include plans and details showing compliance with Sections 501.3.7.2.1 through 501.3.7.2.5
501.3.7.3 | ★ | Electric vehicle charging facilities. Where 20 or more on-site vehicle parking spaces are provided for International Building Code (IBC) Occupancy Group A, B, E, F. I. M and S buildings, not less than 4% of the total number of parking spaces or not less than 8% of designated employee only parking spaces shall be EV ready spaces. Where 10 or more on-site vehicle parking spaces are provided for IBC. Occupancy Group R-1, R-2, and R-4 buildings, not less than 20% of the total number of parking spaces shall be EV ready spaces. The required number of EV ready spaces shall be rounded up to the next highest whole number.
Exception:
Parking spaces designated for other than passenger vehicles are permitted to be excluded from the total number of on-site parking spaces.
501.3.8 |  | BUILDING SITE WASTE MANAGEMENT
501.3.8.1 | ★ | Building site waste management Plan. A building site waste management plan shall be developed and implemented for excavated soil, rock, and land-clearing debris. Land-clearing debris is limited to stumps and vegetation. Diverted land-clearing debris and removed rock and soil shall not be sent to sites where development activity is prohibited by Section 501.3.1.2 or to greenfields other than those being used for agricultural purposes or being developed as part of a building project.
Not less than 90% of the land-clearing debris excluding invasive plant materials, shall be diverted from disposal in landfills and incinerators other than waste-to-energy systems with an energy-recovery efficiency rate higher than 60%. Land-clearning debris calculations shall be based on either weight or volume but not both. Receipts or other documentation related to diversion shall be maintained through the course of construction.
The plan shall address all of the following:
a. Land-clearning debris, rock, and soil to be diverted from disposal by composting, recycling, or reuse.
b. Waste materials that will be diverted on-site.
c. The locations to which waste materials will be diverted off-site.
d. Soils to be stockpiled for future use at any location.
e. Woody waste to be used as fuel.
f. The destruction and disposal of invasive plant materials.
g. The method of removal of any contaminated soils.
h. The treatment of vegetation to comply with the rules of government-designated quarantine zones for invasive insect species.
Sections |  | Description ★ = Mandatory Provisions | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
Chapter 7 - Energy Efficiency
701.3 |  | MANDATORY PROVISIONS
701.3.1 |  | EV CAPABLE/READY PARKING
701.3.1 | ★ | EV Capable/Ready Parking. Construction documents shall indicate the raceway termination point and proposed location of future EV spaces and EVSE. Construction documents shall also provide information on amperage of future EVSE, raceway methods, wiring schematics and electrical load calculations to verify that the electrical panel service capacity and electrical system, including any on-site distribution transformers, meet the requirements of this code. Parking spaces equipped with EVSE shall be identified by signage. A permanent and visible "EV-Capable" or "EV-Ready" label shall be posted in a conspicuous place at the service panel to identify each panel space reserved to support EV-Capable or EV-Ready Spaces, Respectively and at the termination point of the raceway or circuit termination point. See Table 701.3.6.1 for details.
Other requirements:
a.) EV Ready shall comply with ZTA 59-e-2.23 & 24 (Spaces for handicapped and Space for charging electric vehicles).
b.) Federal requirements (Regularions under Title II and III of the Americans with Disabilities Act).
701.3.2 |  | ADDITIONAL ELECTRIC INFRASTRUCTURE
701.3.2 | ★ | Additional electric infrastructure. Buildings that contain combustion equipment and end-uses shall be required to install electric infrastructure in accordance with this section.
701.3.2.1 | ★ | Combustion space heating. Space heating equipment that uses fossil fuels shall comply with either 701.3.2.1.1 or 701.3.2.1.2.
701.3.2.1.1 | ★ | Low-capacity heating. Warm-air furnaces with a capacity less than 225,000 Btu/h and gas-and oil-fired boilers with a capacity less than 400,000 Btu/h shall be provided with a designated exterior location(s) in accordance with the following:
1. Natural drainage for condensate from cooling equipment operation or a condensate drain located within 3 feet (914 mm) of the location of the space heating equipment.
2. A dedicated branch circuit in compliance with NFPA70 Section 424.4 based on heat pump space heating equipment sized in accordance with the requirements of ASHRAE 90.1 Section 6.4.2.1 and terminating within 3 feet (914 mm) of the location of the space heating equipment with no obstructions. Both ends of the branch circuit shall be labeled “For Future Heat Pump Space Heater".
Exception: Where an electrical circuit in compliance with NFPA70 Sections 440.4(B) and 440.35 exists for space cooling equipment.
701.3.2.1.2 | ★ | High-capacity heating. All other space heating equipment shall be provided with conduit that is continuous between a junction box located within 3 feet (914 mm) of the equipment and an electrical panel. The junction box, conduit and bus bar in the electrical panel shall be rated and sized to accommodate a branch circuit with sufficient capacity for an equivalent electric equipment with an equivalent equipment capacity. The electrical junction box and electrical panel shall have labels stating, “For Future Electric Space Heating Equipment”.
701.3.2.2 | ★ | Combustion water heating. Water heating equipment that uses fossil fuels shall comply with either 701.3.2.2.1 or 701.3.2.2.2.
701.3.2.2.1 | ★ | Low-capacity water heating. Water heaters with a capacity less than 300,000 Btu/h (88 kW) shall be installed in accordance with the following:
1. A dedicated 208/240-volt branch circuit with a minimum capacity of 30 amps shall terminate within 3 feet (914 mm) from the water heater and be accessible to the water heater with no obstructions. Both ends of the branch circuit shall be labeled with the words "For Future Heat Pump Water Heater" and be electrically isolated.
2. A condensate drain that is no more than 2 inches (51 mm) higher than the base of the installed water heater and allows natural draining without pump assistance shall be installed within 3 feet (914 mm) of the water heater.
3. The water heater shall be installed in a space with minimum dimensions of 3 feet (914 mm) by 3 feet (914 mm) by 7 feet (2134 mm) high.
4. The water heater shall be installed in a space with a minimum volume of 700 cubic feet (20,000 L) or the equivalent of one 16-inch (406 mm) by 24-inch (610 mm) grill to a heated space and one 8-inch (203 mm) duct of no more than 10 feet (3048 mm) in length for cool exhaust air.
701.3.2.2.2 | ★ | High-capacity water heating. Water heaters with a capacity greater than or equal to 300,000 Btu/h (88 kW) shall be provided with the following:
1. Conduit that is continuous between a junction box located within 3 feet (914 mm) of the equipment and an electrical panel. The junction box, conduit and bus bar in the electrical panel shall be rated and sized to accommodate a branch circuit with sufficient capacity for an equivalent electric equipment with an equivalent equipment capacity. The electrical junction box and electrical panel shall have labels stating, “For Future Electric Water Heating Equipment”.
2. A condensate drain that is no more than 2 inches (51 mm) higher than the base of the installed water heater and allows natural draining without pump assistance shall be installed within 3 feet (914 mm) of the water heater.
701.3.3 |  | RECORD DOCUMENTS
701.3.3 | ★ | Record Documents. Construction documents shall require that within 90 days after the date of system acceptance, record documents shall be provided to the building owner to include: location of additional electric infrastructure for heating and water heating.
701.3.4 |  | ELECTRIC INFRASTRUTURE FOR ENERGY STORAGE
701.3.4 | ★ | Electric infrastructure for energy storage. Each building site shall have space for on-site energy storage not less than 2 feet (610 mm) in one dimension and 4 feet (1219 mm) in another dimension and located in accordance with Section 1206.2.8 of the International Fire Code and Section110.26 of the NFPA 70.
Exception: Where an onsite electrical energy system storage system is installed.
701.3.4.1 | ★ | Electrical service reserved space. The main electrical service panel shall have a reserved space to allow installation of a two-pole circuit breaker for future electrical energy storage system installation This space shall be labeled “For Future Electric Storage.” The reserved spaces shall be positioned at the end of the panel that is opposite from the panel supply conductor connection.
Sections |  | Description ★ = Mandatory Provisions | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
Chapter 8 - Indoor Environmental Quality (IEQ)
801.3 |  | MANDATORY PROVISIONS
801.3.1. | ★ | Indoor Air Quality - Meets requirements of ANSI/ASHRAE/ASHE 62.1, 170 or 62.2
801.3.1.1 | ★ | Minimum Ventilation Rates - Provide ventilation rates, The calculated outdoor airflow rates must be documented consistently in design, acceptance testing, commissioning (Cx) (where appropriate), and operations plans to ensure that the intended airflow rates are confirmed at initial occupancy and maintained over time.
801.3.1.2 - 801.3.1.2.2 | ★ | Outdoor Air Delivery Monitoring - Permanently installed measuring device(s)
a. The device shall employ methods described in ANSI/ASHRAE Standard 111.
b. The device shall have an accuracy of ±10% of the minimum outdoor airflow. Where the minimum outdoor airflow varies, as in demand control ventilation (DCV) systems, the device shall maintain the accuracy over the entire range of occupancy and system operation.
c. The device shall be capable of notifying the building operator, either by activating a local indicator or sending a signal to a building monitoring system, whenever an outdoor air fault condition exists. This notification shall require manual reset.
Exception: Constant-volume air supply systems that do not employ DCV and that use an indicator to confirm that the intake damper is open to the position needed to maintain the design minimum outdoor airflow as determined during system startup and balancing.
801.3.1.3 | ★ | Filtration and Air Cleaner Requirements. This section requires filtration and air cleaning in mechanical ventilation systems in order to control the introduction and circulation of particulate matter and ozone in the indoor environment. Filtration, both of the outdoor air entering the building and of the recirculated air, is an important component of improved IAQ. Health care facilities are exempt from the requirements in Section 801.3.1.3 and are instead required to follow the filtration requirements of Standard 170-2013, Section 6.4.
Healthcare facility Y/N? ASHRAE/ASHE 170 applies
a. MERV 8 required - paticulate matter
b. Ozone filtration required - This has been deleted in 2021
c. Filter system leak sealing, 1-5
d. Ozone emissions. Air cleaning devices with electronic filter elements that rely on ionization or corona discharge shall be listed and labeled in accordance with UL 2998. Ultra-violet-generating devices in supply air devices, ducts, and plenums shall not emit 185 nm wavelengths.
801.3.1.4 | ★ | Building pressure. These pressurization requirements address air infiltration under design cooling conditions, superseding Section 5.9.2 of Standard 62.1.
801.3.1.4.1 | ★ | Mechanical Exhaust. Mechanical systems shall include controls capable of disabling exhaust fans and closing exhaust damp­ers whenever mechanical intake airflow is discontinued.
801.3.1.4.2 | ★ | Exfiltration. Mechanical air-conditioning systems with dehumidification capabil­ity shall include system controls capable of main­taining static pressure inside the building, at the top floor, equal to or greater than the static pressure out­side of the building during mechanical cooling oper­ation.
Exceptions:
1. Process considerations - Industrial, Healthcare
2. Warehouse
801.3.1.5.1 | ★ | Venting of Combustion Products. requires that the products of combustion from any equipment or system that is permanently installed indoors be vented to the outside.
Exceptions:
1. Ovens and ranges in residential spaces.
2. Heaters certified to ANSI Z83.19/CSA 2,35, mounted greater than or equal to 10 ft above the occupied floor.
3. Heaters certified to ANSI Z83.4/CAN 3.7.
4. Heaters certified to ANSI Z21.11.2, pro­vided that the aggregate input rating of all such appliances does not exceed 1000 Btu/ h per 1500 ft3 of space volume.
801.3.1.5.2 | ★ | Ranges in Residential Spaces. The section includes a requirement that both gas and electric cooking ranges in residential spaces use a vented range hood (not just general kitchen exhaust) to comply with ASHRAE Standard 62.2 Section 5.1.
801.3.1.6 | ★ | Humidity control. The requirements in this section supersede the requirements in ASHRAE Standard 62.1, Section 5.9.1. Standard 62.1 requires designers to analyze mechanical cooling system capability to limit indoor relative humidity at a single low-sensible and high-latent load condition, but Section 801.3.1.6 (§ 8.3.1.6) requires designs that either directly or indirectly limit zone relative humidity during cooling operation. Note that Section 1001.3.2.1.4.6 (§ 10.3.2.1.4.6) of the IgCC requires that the plan for building operation have procedures for implementing a regular humidity sensor monitoring program after building occupancy.
Exceptions:
1. Systems serving HVAC zones with construction, furnishings, and fixtures that manage liq­uid water and high humidity using impervious or moisture-retardant surfaces and other means.
2. Systems where performance simulation demonstrates that HVAC zone relative humidity levels during cooling do not exceed 65% rh for more than 48 consecutive hours.
801.3.1.6.1 | ★ | Cooling Coils. HVAC systems with dehumidification capability shall be designed in accordance with either a., b., or c. Provide selection in comments
801.3.1.6.2 | ★ | Direct Evaporative Cooling (DX). Direct evaporative cooling systems shall include devices and controls capable of limiting HVAC zone relative humidity to not exceed 65% rh for more than 48 consecutive hours.
801.3.1.8 | ★ | Building entrances - To ensure each surface provides adequate opportunity to remove contaminant introduction due to foot traffic, each surface must meet a minimum length and width requirement. The width of all surfaces must be no less than the width of the entry door or opening served. The scraper surface and absorptive surface must each be at least 3 feet in length. The finishing surface must be at least 4 feet in length. The resulting minimum total length of the entryway floor system is 10 feet.
801.3.1.9 | ★ | Guest Room Preoccupancy Out­door Air Purge Cycle. Networked guestroom control systems allow hotel/motel staff to schedule individual guestroom occupancy (reservation) times from the front desk or other centralized locations. Where guestrooms are equipped with a networked guestroom control system, the preoccupancy purge must occur not more than 60 minutes prior to the scheduled guest arrival. Where guestrooms are not equipped with a networked guestroom control system, the preoccupancy purge must occur once per day.
801.3.1.10 | ★ | Preoccupancy Ventilation Control. Where Section 801.3.1.9 (§ 8.3.1.9) provides preoccupancy ventilation control requirements specifically for guestrooms, this section applies to all other mechanically ventilated occupancy categories that experience unoccupied periods longer than 24 hours. For buildings that operate on a standard business week, the preoccupancy ventilation will typically only occur once per week or after holidays. In buildings that include mechanically ventilated zones that experience unoccupied periods greater than 24 hours, the mechanical ventilation system serving these zones must automatically supply the design minimum outdoor airflow continuously for not less than one hour prior to the scheduled occupancy.
Exception: Hotel and motel guest rooms subject to automatic control of HVAC and lighting as required in Chapters 7 and 8.
801.3.2 |  | THERMAL ENVIRONMENTAL CONDITIONS FOR HUMAN OCCUPANCY
801.3.2 | ★ | Thermal Environmental Conditions for Human Occupancy.
Exception: Spaces with special requirements for processes, activities, or contents that require a thermal environment outside that which humans find thermally acceptable, such as food storage, natatoriums, shower rooms, saunas, and drying rooms.
801.3.3 |  | ACOUSTICAL CONTROL
801.3.3 | ★ | Acoustical Control. The provisions of this section govern acoustical control for the building envelope, the interior spaces within the building or structure, and the design of the related mechanical equipment and systems. School spaces identified in ANSI/ASA S12.60 shall comply with ANSI/ASA S12.60. Healthcare spaces, as defined in the FGI (Facility Guidelines Institute) Guidelines, shall comply with the FGI Guidelines and ANSI/ASA S12.70. All other spaces shall be designed in accordance with Sections 801.3.3.1 through 801.3.3.5.
801.3.3.1 | ★ | Documentation. The construction documents and any reports shall show all the pertinent data and features of the building, equipment, and systems in sufficient detail to permit a determination of compliance by DPS reviewers and to indicate compliance with the requirements of this code.
801.3.3.2 -801.3.3.3 | ★ | Inerior Background Noise Requirements. Designers should select windows, outside air vents, and building envelope based on the measured and/or predicted sound pressure level at the exterior façade. Designers can then calculate the sound pressure level through the composite transmission loss performance (calculation techniques noted in Sound Transmission section) and correct for the receiving room using calculation software or procedures from ASHRAE HVAC Applications Handbook, Chapter 9, Section 2.5 “Receiver Room Sound Correction.”
801.3.4 |  | SOIL-GAS CONTROL
801.3.4 -801.3.4.2 | ★ | Soil-Gas Control. Soil-gas entry into enclosed spaces that are immediately above crawlspaces, slabs-on-grade, and basement slabs shall be controlled in accordance with Sections 801.3.4.1 or 801.3.4.2. Provide design details.
Exceptions: Note in comments
1. Buildings or portions thereof that are not routinely occupied, such as warehouses and parking structures.
2. Ventilated garages that comply with ANSI/ASHRAE Standard 62.1, Sections 5.15 and 6.5.
801.3.5 |  | LIGHTING QUALITY
801.3.5 -801.3.5.4 | ★ | Lighting Quality. This section provides minimum lighting control requirements to provide occupants with lighting control flexibility While this provides additional occupant control over the lighting operation, it does not eliminate the minimum lighting control requirements of Standard 90.1. All minimum control requirements, such as scheduled operation, occupancy control, and automatic daylight responsive control, must be satisfied.
801.3.6 |  | MOISTURE CONTROL
801.3.6 -801.3.6.2 | ★ | Moisture Control. Either a dynamic heat and moisture analysis, in accordance with ANSI/ASHRAE Standard 160-2016, or steady-state water vapor transmission analysis, in accordance with Sections 801.3.6.1 and 801.3.6.2, shall be performed on above-grade portions of the building envelope and on interior partitions as described in Section 801.3.6.2. Conditions conducive to condensate formation, as demonstrated by analysis, shall not occur at any location within the building envelope or partition components or on the interior side of surfaces not specifically designed and constructed to manage moisture. (Mold Growth Index Value shall be ≤3)
801.3.7-801.3.8 |  | GLARE CONTROL & OCCUPANT OVERRIDE
801.3.7 -801.3.8 | ★ | Glare Control - Occupant Override. View fenestration shall have one or more operable glare control devices capable of reducing the specular visible transmittance of the fenestration assembly to 3% or less.
Exceptions: Note exception in comments
Sections |  | Description ★ = Mandatory Provisions | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
Chapter 9 - Materials and Resources
901.3 |  | MATERIALS AND RESOURCES
901.3.1 | ★ | Constructiion and demolition waste management.
901.3.1.1 | ★ | Diversion. A minimum of 50% of nonhazardous construction, demolition, or deconstruction waste material shall be diverted from disposal in landfills and incineators through reuse, recycling, repurposing, and/or composting. Excavated soil and land-clearing debris shall not be included in the calculation. Alternative daily cover and waste-to-energy incineration shall not be included as diverted material. All diversion calculations shall be based on weight throughout the construction process.
901.3.1.2 | ★ | Total waste. For new construction only, the total amount of construction waste generated prior to the issuance of the final certificate of occupancy on the project shall not exceed 20 lbs per ft2 of new building floor area. This shall apply to all waste, whether diverted, land-filled debris, and demolition debris shall not be included in the calculation. The amount of waste shall be tracked throughout the construction process in accordance with the construction waste management plan required in Section 901.3.1.1.
Exception. Projects where the waste diversion in accordance with Section 901.3.1.1 is 75% of greater.
901.3.1.3 | ★ | Construction and demolition waste management plan. Prior to the start of any construction, demolition, or deconstruction, a construction and demolition waste management plan shall be prepared and made available to the owner and AHJ. The plan shall do the following:
a. Identify the construction and demolition wastematerials expected to be diverted.
b. Identify materials or building elements to be deconstructed.
c. Indicate whether construction and demolition waste materials are to be source-seperated or comingled.
d. Identify service providers and designate destination facilities for construction and demolition waste materials generated at the job site.
Identify the average diversion rate for facilities that accept or process comingled construction and demolition materials. Separate average percentages shall be included for those materials collected by construction and demolition materials processing facilities that end up as alternative daily cover and incineration.
Specify a method for tracking.
Specify a reporting mechanism for dispositon of waste using items (a) through (f).
901.3.2 - 901.3.5 | ★ | Extracting, Harvesting, and/or Manufacturing - Mercury Content Levels of Lamps. These sections apply to all materials, products, and/or assemblies installed prior to the issuance of the final certificate of occupancy.
Sections |  | Description ★ = Mandatory Provisions | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
Chapter 10 - Construction and Plans for Operation
1001.2 |  | COMPLIANCE - All of these provisions of Chapter 10 are mandatory provisions.
1001.4 |  | Construction operations and start-up requirements.
1001.4.2 | ★ | IAQ Construction management. Develop and implement an IAQ management plan to include the following:
a. Air conveyance materials shall be stored and conered so that they remain clean. All filters and controls hsall be in place and operational when HVAC systems are operated during building flush-out or baseline IAQ monitoring. Except for system startup, testing, balancing, and commissioning, permanent HVAC systems shall not be used during construction.
b. Materials stored on-site, or materials installed that are absorptive, shall be protected from moisture damage.
c. Building construction materiakls that show visual evidence of biological growth due to the presence of moisture shall not be installed on the building project.
1001.4.4 | ★ | Construction activity pollution prevention: protection of occupied areas. This section provides the requirements for managing the affected building that are in the area of construction activity or within 35 ft of the limits of construction activity.
1001.4.5 | ★ | Construction and demolition waste management.
1001.4.5.1 | ★ | Collection. Specific areas on the construction site shall be designated for the collection of recyclable and reusable materials. Alternatively, off-site storage and sorting of materials shall be permitted. Diversion efforts shall be tracked throughout the construction process.
1001.4.5.2 | ★ | Documentation. Where requested by the AHJ, prior to issuance of the final certificate of occupancy, a final construction waste management report documenting compliance with Section 901.3.1 shall be submitted to the AHJ.
1001.5 |  | ACOUSTICAL FIELD MEASUREMENT
1001.5 - 1001.5.2 | ★ | Acoustical field measurement. Where required by Chapter 8, the FPT specified in Section 1001.5.1 through 1001.5.2 shall be completed.
1001.7 |  | POSTCONSTRUCTION BUILDING FLUSH-OUT AND AIR MONITORING
1001.7 - 1001.7.2 | ★ | Postconstruction building flush-out and air monitoring. After construction ends, prior to occupancy and with all interior finishes installed, a postconstruction, preoccupancy building flush-out as described in Section 1001.7.1, or postconstruction, preoccupancy baseline IAQ monitoring described under Section 1001.7.2 shall be performed.
1001.9 |  | SITE SUSTAINABILITY
1001.9 | ★ | Plans for high-performance building operation. This section specifies the items to be included in plans for operation of a building project. A plan for operation starting immediately prior to occupancy shall be developed that meets the requirements specified in Sections 1001.9.1 through 1001.9.8. The plan shall be turned over to the owner.
1001.9.1 | ★ | Site sustainability. A site sustainability portion of the plan for operation shall be developed and shall contain the following provisions in (a) and ©.
1001.9.3 | ★ | Energy efficiency. The plan for operation shall specify energy performance verification activities for building projects to track and assess building energy performance. The plan shall describe the procedures needed to comply with the requirements in the following subsections.
1001.9.4 - 1001.9.4.5 | ★ | IAQ. The plan for operation shall include the requirements of ASHRAE Standard 62.1, Section 8, and shall describe additional procedures for implementing a regular indoor environmental quality M&V program after building occupancy. These sections apply to airflow measurement, scheduling, documentation, and maintenance and monitoring prior to the issuance of the final certificate of occupancy and after building occupancy.
1001.9.5 | ★ | Building green cleaning plan. A green cleaning plan shall be developed for the building project in compliance with Green Seal Standards GS-42.
Exception. Dwelling units of a building project.
1001.9.6 | ★ | Moisture Assessment. The plan for operation shall document procedures for implementing a regular humidity sensor monitoring program after building occupancy. Such procedures shall include provisions for the following:
a. For systems complying with Section 801.3.1.4, using relative humidity sensors to determine HVAC zone relative humidity directly, or using dew-point and zone temperature sensors to determine HVAC zone humidity indirectly, the relative humidity determined shall be checked annually and compared to the relative humidity established using methods to described in ASHRAE Standard 111.
b. Sensors shall be cleaned or repaired and recalibrated as necessary to ensure that sensor measurements are within 10% of actual relative humidity measurements.
1001.9.8 | ★ | Renewable energy certificate tracking.
1001.9.9 | ★ | Renewable energy allocation to multiple buildings.
1001.9.10 | ★ | Maintenance plan. A maintenance plan shall be developed for mechanical, electrical, plumbing, and fire protection systems. The plan shall include (a) through e.

## Prescriptive
PRESCRIPTIVE OPTION
Chapters 7, 8, 9
Sections | Description | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
Energy Efficiency
701.4 | Prescriptive Option. Replace this Section with the following:
701.4.1 | ASHRAE 90.1 2022 Normative Appendix L: Mechanical System Performance Rating Method mandatory for all prescriptive projects that are allowed to use this method according to L1. General.
Sections | Description | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
Indoor Environmental Quality
801.4 | Prescriptive Option
801.4.1 | Daylighting. The prescriptive measures of the IgCC are intended to establish minimum criteria that will enable buildings to achieve higher levels of performance through the effective use of daylighting features and are not intended to provide comprehensive design guidance for daylighting.
801.4.1.1 | Daylighting in Large Spaces Directly under a Roof and Having High Ceilings. Daylighting is an important strategy in high-performance buildings due to the positive impacts of natural light on occupants and the opportunities for energy savings. Daylighting reduces the need for artificial interior lighting and reduces artificial lighting energy consumption when used in conjunction with daylight responsive controls.
Exceptions: Provide your exception (if applicable) in comments
801.4.1.1.1 | Minimum Daylight Area. For buildings that meet the conditions listed in Section 801.4.1.1.1 requires no less than 50 percent of the floor area in each enclosed space be a daylight area.
801.4.1.1.2 | Visible Transmittance (VT) of Skylights and Roof Monitors. Where enclosed spaces have a skylight effective aperture of 1 percent or greater, the visible transmittance may be less than 0.40.
801.4.1.1.3 | Skylight Optical Diffusion Characteristics. Glare is a potential concern when using skylights. To diffuse direct sunlight and reduce potential glare, the IgCC requires the use of skylight glazing materials or diffusers with a measured haze value greater than 90 percent.
Exceptions: Provide your exception (if applicable) in comments
801.4.1.2 | Minimum Sidelighting Effective Aperture for Office Spaces and Classrooms. The spaces listed in Table 801.4.1.2A shall comply with items (a), (b) and (c) of this provision.
Exceptions: Provide your exception (if applicable) in comments
801.4.1.3 | Shading for Offices. Requires that PF or interior PF have a minimum value of 0.5 on all first story façades and 0.25 for above grade stories, other than façades facing within 45 degrees of true north. In other words, it requires that buildings have permanent shading that is at least half as deep as the vision glazing height or daylight glazing height.
Exceptions: Provide your exception (if applicable) in comments
801.4.2 - 801.4.2.7 | Materials. All materials that emit contaminants that might enter the indoor air are considered indoor contaminant sources. The requirements of this section therefore apply to all products installed or applied inside the weatherproofing system. Provide compliance specifications for the materials listed in these sections.
801.4.3 | Lighting for Presentations. Where spaces include vertical surfaces for presentations, lighting located within 3 feet (0.9 m) horizontally from the presentation surface must have separate lighting controls. Presentation surfaces for which these requirements must be met are whiteboards, blackboards, chalkboards, and projection screens.
Sections | Description | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
Materials and Resources
901.4 | Prescriptive Option
901.4.1 | Reduced Impact Materials. The IgCC does not restrict the components that can be included to achieve compliance in the prescriptive section. Components of mechanical, electrical, plumbing, and fire safety systems and transportation devices can be included when determining compliance.
901.4.1.1 | Recycled Content and Salvaged Material Content. The recycled content of a material shall be the postconsumer recycled content plus one-half of the preconsumer recycled content, determined by weight (mass).
901.4.1.1.1 | Recycled Content. The requirement is met if the sum of the recycled content value divided by the total cost of materials is greater than or equal to 10 percent.
901.4.1.1.2 | Salvaged Material Content. The calculation for Section 901.4.1.1 (Recycled Content) is allowed to include salvaged material content as well as recycled content. A salvaged material is a material, component, or assembly that is removed from a structure or site where it was previously installed and in service and then reused in the building project.
901.4.1.2 | Regional Materials. This second option, to meet the prescriptive requirements of Chapter 9 of the IgCC, requires that at least 15 percent of the project's products or materials, based on cost, be harvested/extracted/recovered or manufactured within a 500 mile radius of the project site.
Exception: Note applicable exception in comments
901.4.1.3 | Biobased Products. The third option to fulfill the prescriptive requirements of Chapter 9 requires that 5 percent of the building materials, based on cost, be biobased.
901.4.1.3.1 | Wood Building Components. This section has specific provisions to ensure that the wood products used in buildings are sourced from sustainably managed forests and/or responsible forestry practices.
901.4.1.4 | Multiple-Attribute Product Declaration or Certification. The fourth option to fulfill the prescriptive requirements of Chapter 9 of the IgCC requires that ten product credits be earned by different products installed in the building project to comply with Section 901.4.1.4.
901.4.1.4.1 | Industry-Wide Declaration. Product credit in this section is gained by products installed in the building project having an industry-wide (generic) EPD. The EPDs (Environmental Product Declaration) must be third-party certified ISO 14025 or ISO 21930 Type III EPDs with at least a cradle-to-gate scope.
901.4.1.4.2 | Product-Specific Declaration. Product credit is gained in this section by products installed in the building project having a product-specific EPD.
901.4.1.4.3 | Third-Party Multiattribute Certification. Product credit is gained in this section by products installed in the building project that are certified as meeting a minimum performance level according to one of the listed multi-attribute standards.
901.4.1.4.4 | Product Life Cycle. Product credit is gained in this section by products installed in the building project having an LCA based on ISO 14040 and ISO 14044. Each product with an LCA counts as two product credits toward the overall requirement of ten products complying under Section 901.4.1.4.

## Performance
PERFORMANCE OPTION
Chapters 7, 8, 9
Sections | Description | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
701.5 | Energy Efficiency - Performance Option
This section has been deleted. Compliance is now under ASHRAE 90.1-2022 .
Sections | Description | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
801.5-801.5.3 | Indoor Environmental Quality - Performance Option Note exceptions in comments
801.5.1 | Daylight Simulation. In lieu of meeting the prescriptive requirements of Section 801.4.1, projects may comply with the performance requirements of Section 801.5.1, which requires compliance with both minimum daylight provisions, Section 801.5.1.1 and excessive sunlight provisions, Section 801.5.1.2.
801.5.1.1 | Minimum Daylight. To comply with the requirements of Section 801.5.1 , projects must use daylight simulation software that uses an hourly simulation and that adheres to the modeling protocols described in IES LM 83 for spatial daylight autonomy (sDA) calculations in Section 801.5.1.1 and annual sunlight exposure (ASE) calculations in Section 801.5.1.2.
801.5.1.2 | Excessive Sunlight. The ASE (Annual Sunlight Exposure), calculated with a threshold of 93 fc and 250 hours, shall not exceed 20% of the floor area.
801.5.2 | Materials. In lieu of following the prescriptive requirements for materials under Section 801.4.2, project teams are allowed to comply by showing acceptable emission levels by complying with this performance option. In addition, the modeling for the building shall include, at a minimum, the criteria listed in Normative Appendix D of this code
801.5.3 | Lighting for Presentations. Lighting systems shall be provided and shall be controllable by the occupants so as to meet the illuminance and uniformity requirements specified in items (a) through (c) for each permanently installed presentation system.
Sections | Description | Compliance Met? (Y, N or N/A) | Location in Documents | Notes/Comments/Narrative
901.5-901.5.1.3 | Materials and Resources - Performance Option
901.5.1 | Life-Cycle Assessment (LCA). The performance option of Chapter 9 requires an LCA to be performed in accordance with the two listed Standards, for a minimum of two building alternatives, both of which meet the owner's project requirements.
901.5.1.1 | LCA Performance Metric. As part of the assessment, a comparative analysis must be conducted between a baseline or reference building and the final whole building design. The LCA should, at a minimum, consider two building alternatives with the same functional requirements: Alternative A, a hypothetical building that meets the criteria, and Alternative B, the as-designed building.
901.5.1.2 | Procedure. ASTM E2921 includes criteria for building service lives, life-cycle stages, study boundaries, and comparison methodologies. Section 901.5.1.2 includes modifications or clarifications to the requirements of ASTM E2921 that must be followed.
901.5.1.3 | Reporting. The final step of a traditional LCA is interpretation. This step involves analyzing the results, reaching conclusions, explaining limitations, and providing recommendations. For the IgCC, interpretation is accomplished in the form of an LCA report which shall be submitted with the construction documents.